EM Grade Data Sheet

| Information |
| --- |
| Product | Gold colloid – 50nm |
| Product Code | EM. GC50 |
| Batch Number | 22090155-F2 |
| Storage Buffer | Suspended in H2O, no preservative Residual chemical left from manufacture |
| Storage Instructions | Store at 2-8oC – DO NOT FREEZE |
| Expiry Date | September 2023 (Use within one month of opening) |

| Technical Data |
| --- |
| Mean Diameter | 51.4nm |
| Coefficient of Variation | ≤8% |
| Optical Density @ 520nm | 1.09 |
| Gold Chloride Concentration | 0.01% |

USA: 1-800-423-8199 | International: +44 (0)2920 767 499 | info@bbisolutions.com | www.bbisolutions.com